## Sheet1
RC | SC | CATEGORY | MS/NON MS
BSS - Hardware Fault | Spare Part Unavailability_Non H Specific Part | Spare Part Non H | NON MS
BSS - Hardware Fault | TRX Cabling Fault | HW | MS
BSS - Hardware Fault | BSS Cabling Fault | Battery | MS
BSS - Hardware Fault | TRX Modules Fault | HW | MS
BSS - Hardware Fault | Main Processor unit fault | HW | MS
BSS - Hardware Fault | Clock unit problem | SW | MS
BSS - Hardware Fault | RET Fault | HW | MS
BSS - Hardware Fault | Backplane Fault | HW | MS
BSS - Hardware Fault | SFP Fault | HW | MS
BSS - Hardware Fault | Hardware Configuration Problem | HW | MS
BSS - Hardware Fault | Antenna fault | HW | MS
BSS - Hardware Fault | Module Fault due to environmental factor | HW | MS
BSS - Hardware Fault | AC DC power System Fault | HW | MS
BSS - Hardware Fault | Battery Bank Fault | Battery | MS
BSS - Hardware Fault | Battery Fuse Broken Alarm | Battery | MS
BSS - Hardware Fault | Combiner Fault | HW | MS
BSS - Hardware Fault | Consumable Material Faulty | HW | MS
BSS - Hardware Fault | Module Fault | HW | MS
BSS - Hardware Fault | Rectifier System Fault | HW | MS
BSS - Hardware Fault | Sensor Faulty | HW | MS
BSS - Hardware Fault | Spare Part Requirement_Vendor Specific Part | Spare Part | MS
BSS - Hardware Fault | Spare Part Unavailability_Consumable Part | Spare Part | MS
BSS - Hardware Fault | Spare Part Unavailability_H Specific Part | Spare Part | MS
BSS - HiWEB Site Transition to MS | HiWEB Down Site | HW | MS
BSS - HiWEB Site Transition to MS | HiWEB Non Telecom Issue | HW | MS
BSS - HiWEB Site Transition to MS | HiWEB Hardware Issue | HW | MS
BSS - Interference | Interference fault | Third party | NON MS
BSS - LL Issue | Legal Issue | Non Telecom | NON MS
BSS - LL Issue | Lease Non Payment | Non Telecom | NON MS
BSS - LL Issue | Lease contract- Higher lease request | Third party | NON MS
BSS - LL Issue | Site Damage issue for compensation | Non Telecom | NON MS
BSS - LL Issue | Request to cancel lease contract | Non Telecom | NON MS
BSS - LL Issue | Lease contract- expired | Third party | NON MS
BSS - LL Issue | ITC Co. Lease Nonpayment | Third party | NON MS
BSS - LL Issue | ITC Co. Unavailable LL | Third party | NON MS
BSS - LL Issue | ITC Co. Legal Issue | Third party | NON MS
BSS - LL Issue | TK Co. Lease Nonpayment | Non Telecom | NON MS
BSS - LL Issue | TK Co. Legal Issue | Non Telecom | NON MS
BSS - LL Issue | TK Co. Unavailable LL | Non Telecom | NON MS
BSS - MCI issue | Power issue | Non Telecom | NON MS
BSS - MCI issue | Transmission issue | MCI Issue | NON MS
BSS - Multi Vendor Fault | Multi Vendor Interoperability fault | HW | NON MS
BSS - Non Telecom | Access Issues - Bad Weather | Non Telecom | NON MS
BSS - Non Telecom | Access issues - Commercial Buildings | Non Telecom | NON MS
BSS - Non Telecom | Access issues-Dangerous Area Inhibiting SiteAccess | Non Telecom | NON MS
BSS - Non Telecom | Access issues - Limited Access | Non Telecom | NON MS
BSS - Non Telecom | Access Issues - LL Unavailable | Non Telecom | NON MS
BSS - Non Telecom | Access issues - POI | Non Telecom | NON MS
BSS - Non Telecom | Conditionally COCed without putting On Air | Non Telecom | NON MS
BSS - Non Telecom | Force Majeure | Force Majeure | NON MS
BSS - Non Telecom | Guard Issue | Non Telecom | NON MS
BSS - Non Telecom | Illegal Power Connection | Non Telecom | NON MS
BSS - Non Telecom | Lease Non Payment | Non Telecom | NON MS
BSS - Non Telecom | Legal Issue | Non Telecom | NON MS
BSS - Non Telecom | LL Issue Unhappy Landlord | Non Telecom | NON MS
BSS - Non Telecom | Municipality | Non Telecom | NON MS
BSS - Non Telecom | Permanent Power Bill Non Payment | Non Telecom | NON MS
BSS - Non Telecom | Permanent power issue non-standard Materials | Power | MS
BSS - Non Telecom | POI resource unavailable | Power | MS
BSS - Non Telecom | Power Company Related Fault | Non Telecom | NON MS
BSS - Non Telecom | Temporary Power Bill Non Payment | Non Telecom | NON MS
BSS - Non Telecom | Temporary Power Issue LL Problem | Non Telecom | NON MS
BSS - Non Telecom | Temporary Power Issue non-standard materials | Non Telecom | NON MS
BSS - Non Telecom | Vandalism Pending For Spare | Non Telecom | NON MS
BSS - Non Telecom | Access Issues Only Day Time Access | Non Telecom | NON MS
BSS - Non Telecom | Access Issues No Contract | Non Telecom | NON MS
BSS - Non Telecom | Procurement process | Non Telecom | NON MS
BSS - Non Telecom | Access Issues Contract Expired | Non Telecom | NON MS
BSS - Non Telecom | Under Finance process | Non Telecom | NON MS
BSS - Non Telecom | Battery Without Connection | Battery | MS
BSS - Non Telecom | Access prevention / Relocation | Non Telecom | NON MS
BSS - Non Telecom | Vandalism due to robbery | Non Telecom | NON MS
BSS - Non Telecom | Vandalism due to damage | Non Telecom | NON MS
BSS - Non Telecom | Access Issue - Road Block | HW | NON MS
BSS - Non Telecom | ITC Co. Vandalism Issue | Non Telecom | NON MS
BSS - Non Telecom | ITC Co. Tower | Non Telecom | NON MS
BSS - Non Telecom | ITC Co. Negligence | Non Telecom | NON MS
BSS - Non Telecom | TK Co. Negligence | Non Telecom | NON MS
BSS - Non Telecom | TK Co. Tower | Non Telecom | NON MS
BSS - Non Telecom | TK Co. Vandalism Issue | Non Telecom | NON MS
BSS - Non Telecom | Power High Price Issue | Non Telecom | NON MS
BSS - Non Telecom | Power Contract Expiration | Non Telecom | NON MS
BSS - Non Telecom | ITC Co. Power Non payment | Non Telecom | NON MS
BSS - Non Telecom | Project Power Non payment | Non Telecom | NON MS
BSS - Non Telecom | LL Lack of Information | Non Telecom | NON MS
BSS - Non Telecom | Smart Meter Non payment | Non Telecom | NON MS
BSS - Power Issue | AC MDB Tripped due to Power Fluctuation | Power | MS
BSS - Power Issue | Faulty Electrical Wiring on AC MDB | Battery | MS
BSS - Power Issue | Faulty Electrical Wiring Or Breakers On PDB | Power | MS
BSS - Power Issue | Faulty Or Damaged AC MDB Box | Power | MS
BSS - Power Issue | Faulty Or Damaged AC PDB Box | Power | MS
BSS - Power Issue | No Battery Backup on Site | Battery | MS
BSS - Power Issue | Not Healthy Battery Backup on site | Battery | MS
BSS - Power Issue | permanent Genset failure | Pending for BB Test | MS
BSS - Power Issue | Permanent Power Outage | Power | NON MS
BSS - Power Issue | Power Company Vandalized | Power | NON MS
BSS - Power Issue | Temporary Genset failure | Power | MS
BSS - Power Issue | Temporary Power Outage | Power | NON MS
BSS - Power Issue | Unsecure AC MDB | Power | MS
BSS - Power Issue | Unstable AC Power Supply | Power | MS
BSS - Power Issue | Unbalanced AC Power | Power | MS
BSS - Power Issue | BB will be installed later due to budget limitation | Battery | MS
BSS - Power Issue | Pending for BB Test | Pending for BB Test | MS
BSS - Power Issue | ITC Co. Permanent Power Outage_MDB Fuse trip | Power | MS
BSS - Power Issue | ITC Co. Permanent Power Outage_PDB Fuse trip | Power | MS
BSS - Power Issue | ITC Co. Permanent Outage_Bill Nonpayment | Power | MS
BSS - Power Issue | ITC Co. Temp Power Outage_Fuse trip | Power | MS
BSS - Power Issue | ITC Co. Temp Power_Bill Nonpayment | Power | MS
BSS - Power Issue | BB Under Warranty | Power | MS
BSS - Power Issue | DC Power Fuse Capacity problem | Battery | MS
BSS - Power Issue | AC Power Fuse Capacity problem | Power | MS
BSS - Power Issue | TK Co. Permanent Outage_Bill Nonpayment | Power | NON MS
BSS - Power Issue | TK Co. Permanent Power Outage_MDB Fuse trip | Power | NON MS
BSS - Power Issue | TK Co. Permanent Power Outage_PDB Fuse trip | Power | NON MS
BSS - Power Issue | TK Co. Temp Power Outage_Fuse trip | Power | NON MS
BSS - Power Issue | TK Co. Temp Power_Bill Nonpayment | Power | NON MS
BSS - PTP Synchronization Fault | BSS Configuration problem | Power | MS
BSS - RF Fault | Lack of Planned Site | PA / UA | NON MS
BSS - RF Fault | Feeder Swap Problem | Transmission | MS
BSS - RF Fault | Sector Swap Problem | Transmission | MS
BSS - RF Fault | Antenna Value Problem | HW | MS
BSS - RF Fault | Antenna LOS Block | Transmission | MS
BSS - RF Fault | Feeder/Jumper Conector Problem | Transmission | NON MS
BSS - RF Fault | Feeder/Jumper Fault | HW | MS
BSS - RF Fault | VSWR Problem | HW | NON MS
BSS - RF Fault | Antenna Direction Problem | HW | MS
BSS - RF Fault | Optimization Issue | Optimization | NON MS
BSS - RF Fault | Ineternal Interference fault | HW | MS
BSS - RF Fault | External Interference fault | Transmission | MS
BSS - Security | Unknown | Unkown | NON MS
BSS - Software Fault | Configuration Issue | NOA | MS
BSS - Software Fault | License Provisioning | SW | MS
BSS - Software Fault | Sync Issue | SW | MS
BSS - Software Fault | Clock Configuration Problem | SW | MS
BSS - Software Fault | ODU Hanged | Transmission | MS
BSS - Software Fault | PmP Link Software Hanged | Transmission | MS
BSS - Software Fault | Software corrupted | SW | MS
BSS - Software Fault | DSL Software Hanged | SW | MS
BSS - Software Fault | IDU Hanged | SW | MS
BSS - Software Fault | IP/VLAN Configuration Problem | SW | MS
BSS - Software Fault | IP Conflict problem | SW | MS
BSS - Software Fault | BSS Software Hanged | SW | MS
BSS - Subscriber Fault | Temporary Subscriber problem | SW | NON MS
BSS - Subscriber Fault | Handset Problem | SW | NON MS
BSS - Third Party Transmission Fault | TCP BB fault | Third party | NON MS
BSS - Third Party Transmission Fault | TCP Planned Activity | Third party | NON MS
BSS - Third Party Transmission Fault | TIC BB Fault | Third party | NON MS
BSS - Third Party Transmission Fault | TIC Planned Activity | Third party | NON MS
BSS - Third Party Transmission Fault | VSAT Problem | Third party | NON MS
BSS - Third Party Transmission Fault | Railway Company Activity | Third party | NON MS
BSS - Third Party Transmission Fault | Third part Link congestion | Third party | NON MS
BSS - Third Party Transmission Fault | Railway Company Fault | Third party | NON MS
BSS - Third Party Transmission Fault | TIC VSAT Hub issue | Third party | NON MS
BSS - Third Party Transmission Fault | HIWEB VSAT Hub issue | SW | NON MS
BSS - Third Party Transmission Fault | Samansat Hub Issue | Third party | NON MS
BSS - Unclear | Short Outage | Short Outage | MS
BSS - Under Investigation | Unclear | Root cause not Clear - UI | MS
BSS - Vendor Transmission Fault | DDF Cross Connection Cabling Fault | HW | NON MS
BSS - Vendor Transmission Fault | E1 Cabling Fault | HW | NON MS
BSS - Vendor Transmission Fault | E1 Connector Fault | HW | NON MS
BSS - Vendor Transmission Fault | HDSL Fault | HW | MS
BSS - Vendor Transmission Fault | IDU Fault | HW | MS
BSS - Vendor Transmission Fault | IF Cabling Fault | HW | NON MS
BSS - Vendor Transmission Fault | IF Connector Fault | HW | NON MS
BSS - Vendor Transmission Fault | Loose connection Fault | HW | NON MS
BSS - Vendor Transmission Fault | LOS Blocked | Transmission | MS
BSS - Vendor Transmission Fault | MW Antenna Misalignment Problem | Transmission | MS
BSS - Vendor Transmission Fault | MW interference issue | Transmission | MS
BSS - Vendor Transmission Fault | MW RSL Loss due to environmental factors | Transmission | MS
BSS - Vendor Transmission Fault | ODU Fault | HW | MS
BSS - Vendor Transmission Fault | TXN Cross Configuration Corrupted | Transmission | MS
BSS - Vendor Transmission Fault | TX Power Fault | HW | MS
BSS - Vendor Transmission Fault | Fiber Link congestion | Transmission | MS
BSS - Vendor Transmission Fault | Ethernet Configuration Problem | SW | MS
BSS - Vendor Transmission Fault | Fiber fault | SW | MS
BSS - Vendor Transmission Fault | Ethernet Cable Fault | Transmission | NON MS
BSS - Vendor Transmission Fault | VDSL Fault | Transmission | NON MS
BSS - Vendor Transmission Fault | PmP Link Configuration Fault | Transmission | MS
BSS - Vendor Transmission Fault | MW Link Congestion | Transmission | MS
BSS - Vendor Transmission Fault | MW Link Configuration problem | Transmission | MS
BSS - Vendor Transmission Fault | XPIC Link Fault | Transmission | MS
BSS - Vendor Transmission Fault | XPI Poor Quality | Transmission | MS
CauseType1 | testCause | Transmission | MS
CC-CPG | Relocation | Transmission | MS
CC-CPG | Modernization | Transmission | MS
CC-CPG | New site Integration | Transmission | MS
CC-CPG | NOA Site Hardware Issue | Transmission | MS
CC-CR | No Answer | Transmission | MS
CC-CR | MBG | Transmission | MS
CC-CR | Sub Issue | Transmission | MS
CC-CR | Lack of cooperation | Transmission | MS
CC-FBB | Interference Issue | Transmission | MS
CC-MS Core | APN issue | Transmission | MS
CC-MS Core | Routing Issue | Transmission | MS
CC-MS Core | HSS issue | Transmission | MS
CC-MS OPS | Network Issue | Transmission | MS
CC-MS OPS | Planned Activity | Transmission | MS
CC-MS OPS | Power Outage | Transmission | MS
CC-MS OPS | Third Party Plan or BB Fault | Transmission | MS
CC-MS OPS | Unknown Issue | Transmission | MS
CC-MVO | Desirable Coverage and KPI | Transmission | MS
CC-MVO | Optimization Activity | Transmission | MS
CC-MVO | No Room For More Optimization | Transmission | MS
CC-MVO | Meet Target | Transmission | MS
CC-National Ops | Battery Installation | Transmission | MS
CC-Radio Planning | Cancelation Plan | Transmission | MS
CC-Radio Planning | Lack of Plan | Transmission | MS
CG Mediation | Care | Transmission | MS
CG Mediation | Disk Issue | SW | NON MS
CG Mediation | Misconfiguration | SW | MS
Core - Call Center Complaint | Care | Care | MS
Core - Call Center Complaint | configuration related | Care | MS
Core - Congestion | Care | Care | MS
Core - GGSN | Care | Care | MS
Core - GGSN | Spare Part Unavailability_Consumable Part | Spare Part | MS
Core - HLR | Care | Care | MS
Core - IP Related | Care | Care | MS
Core - IS Complaint | Care | Care | MS
Core - Non Telecom | Ericsson?Unauthorized?Activity | PA / UA | NON MS
IPRAN - Non Telecom | Access Issues Only Day Time Access | Non Telecom | NON MS
IPRAN - Non Telecom | Access Issues No Contract | Non Telecom | NON MS
IPRAN - Non Telecom | Access Issues LL Unhappy | Non Telecom | NON MS
IPRAN - Non Telecom | Access Issues Contract Expired | Non Telecom | NON MS
IPRAN - Non Telecom | Access Issues - Bad Weather | Non Telecom | NON MS
IPRAN - Non Telecom | Access issues - Commercial Buildings | Non Telecom | NON MS
IPRAN - Non Telecom | Access issues-Dangerous Area Inhibiting SiteAccess | Non Telecom | NON MS
IPRAN - Non Telecom | Access issues - Limited Access | Non Telecom | NON MS
IPRAN - Non Telecom | Access Issues - LL Unavailable | Non Telecom | NON MS
IPRAN - Non Telecom | Access issues - POI | Non Telecom | NON MS
IPRAN - Non Telecom | Force Majeure | Force Majeure | NON MS
IPRAN - Non Telecom | Guard Issue | Non Telecom | NON MS
IPRAN - Non Telecom | Illegal Power Connection | Non Telecom | NON MS
IPRAN - Non Telecom | Lease Non Payment | Non Telecom | NON MS
IPRAN - Non Telecom | Legal Issue | Non Telecom | NON MS
IPRAN - Non Telecom | LL Issue Unhappy Landlord | Non Telecom | NON MS
IPRAN - Non Telecom | Municipality | Non Telecom | NON MS
IPRAN - Non Telecom | Permanent Power Bill Non Payment | Non Telecom | NON MS
IPRAN - Non Telecom | POI resource unavailable | Third party | NON MS
IPRAN - Non Telecom | Temporary Power Bill Non Payment | Non Telecom | NON MS
IPRAN - Non Telecom | Temporary Power Issue LL Problem | Non Telecom | NON MS
IPRAN - Non Telecom | Vandalism due to robbery | Non Telecom | NON MS
IPRAN - Non Telecom | Lease contract- Higher lease request | Non Telecom | NON MS
IPRAN - Non Telecom | Site Damage issue for compensation | Non Telecom | NON MS
IPRAN - Non Telecom | Request to cancel lease contract | Non Telecom | NON MS
IPRAN - Non Telecom | Lease contract- expired | Non Telecom | NON MS
IPRAN - Non Telecom | Under Finance process | Non Telecom | NON MS
IPRAN - Non Telecom | Relocation | PA / UA | NON MS
IPRAN - Non Telecom | Vandalism due to damge | Non Telecom | NON MS
IPRAN - Software Fault | Configuration Problem | SW | MS
IPRAN - Software Fault | Software Hanged | SW | MS
IPRAN - Software Fault | IP Conflict problem | IP | MS
IPRAN - Software Fault | Software corrupted | SW | MS
IPRAN - Software Fault | License Provisioning | SW | MS
IPRAN - Software Fault | Sync Issue | SW | MS
Core - Signaling Failure | Care | Care | MS
Core - Signaling Failure | EIR fault | Care | MS
Core - STP | Care | Care | MS
Core - Third Party Transmission Fault | MCI Related Fault | MCI Issue | NON MS
Core - Third Party Transmission Fault | TCP BB Fault | Third party | NON MS
Core - Third Party Transmission Fault | TCP planned activity | Third party | NON MS
Core - Third Party Transmission Fault | TIC BB Fault | Third party | NON MS
Core - Third Party Transmission Fault | TIC planned activity | Third party | NON MS
Core - Third Party Transmission Fault | Railway company Fault | Third party | NON MS
Core - Third Party Transmission Fault | Railway company Activity | Third party | NON MS
IPRAN - IP services issues | Modular QoS | SW | MS
IGMLC | Care | Care | MS
iNOC issues | Care | Care | MS
iNOC issues | Planned Activity | PA / UA | NON MS
IP - Under Investigation | Unclear | PA / UA | NON MS
IPBB - ER | ER | ER | ER
IPBB - Non Telecom | Vandalism | Non Telecom | NON MS
IPBB - Power Issue | AC PDB Fault | Power | MS
IPBB - Power Issue | DC PDB Fault | Power | MS
IPBB - Power Issue | Rectifier System Fault | HW | MS
IPBB - Power Issue | AC Power Fuse Capacity problem | Power | MS
IPBB - Power Issue | DC Power Fuse Capacity problem | Power | MS
IPBB - Third Party Transmission Fault | TIC Backbone Fault | Third party | NON MS
IPBB - Third Party Transmission Fault | TIC Planned Activity | Third party | NON MS
IPBB Hardware | MPU Board Fault | IP | MS
IPBB Hardware | Power Fault | Power | MS
IPBB Hardware | LPU Board Fault | IP | MS
IPBB High CPU | Board Related | HW | NON MS
IPBB Port Down | Loose Connection | HW | MS
IPCC | Care | Care | MS
IPRAN - Power Issue | Permanent power issue non-standard Materials | Battery | MS
IPRAN - Power Issue | Power Company Related Fault | Non Telecom | NON MS
IPRAN - Power Issue | Temporary Power Issue non-standard materials | Power | NON MS
IPRAN - Power Issue | Battery Without Connection | Battery | MS
IPRAN - Power Issue | AC MDB Tripped due to Power Fluctuation | Power | MS
IPRAN - Power Issue | AC DC power System Fault | Power | MS
Core - SGSN | Care | Care | MS
Core - SGSN | Spare Part Requirement_Vendor Specific Part | Spare Part | MS
Ericsson IN Issue | Ericsson Planned Activity | PA / UA | NON MS
IPRAN - Power Issue | Battery Fuse Broken Alarm | Battery | MS
IPRAN - Power Issue | Rectifier System Fault | HW | MS
IPRAN - Power Issue | Faulty Electrical Wiring on AC MDB | Battery | MS
IPRAN - Power Issue | Faulty Electrical Wiring Or Breakers On PDB | Power | MS
IPRAN - Power Issue | Faulty Or Damaged AC MDB Box | Power | MS
IPRAN - Power Issue | Faulty Or Damaged AC PDB Box | Power | MS
IPRAN - Power Issue | No Battery Backup on Site | Battery | MS
IPRAN - Power Issue | Not Healthy Battery Backup on site | Battery | MS
IPRAN - Power Issue | permanent Genset failure | Battery | MS
IPRAN - Power Issue | Permanent Power Outage | Power | NON MS
IPRAN - Power Issue | Power Company Vandalized | Power | NON MS
IPRAN - Power Issue | Unbalanced AC Power | Power | MS
IPRAN - Power Issue | Temporary Genset failure | Power | MS
IPRAN - Power Issue | Temporary Power Outage | Power | NON MS
IPRAN - Power Issue | Unsecure AC MDB | Power | MS
IPRAN - Power Issue | Unstable AC Power Supply | Power | MS
IPRAN - Power Issue | DC Power Fuse Capacity problem | Battery | MS
IPRAN - Power Issue | AC Power Fuse Capacity problem | Power | MS
IPRAN - Hardware Fault | LPU Board Fault | IP | MS
IPRAN - Hardware Fault | MPU Board Fault | IP | MS
IPRAN - High CPU | Board Related | HW | NON MS
Microwave-Harware Fault | Power Unit Fault | Power | MS
IPRAN - Software Fault | Clock Configuration Problem | SW | MS
IPRAN - Transmission Fault | Loose Connection | HW | MS
IPRAN - Transmission Fault | Fiber fault | Fiber | MS
IPRAN - Transmission Fault | ODF fault | HW | MS
IPRAN -Router failure | Hardware | HW | MS
IPRAN -Router failure | Routing protocol Fault | IP | MS
IPRAN -Switching fault | Hardware | Care | MS
Core - Under Investigation | Un Clear | Third party | NON MS
Core - Utilization | Handset Issue | Third party | NON MS
Core - Utilization | Subscriber Behaviour | Third party | NON MS
Core - Utilization | lack of resource | Third party | NON MS
Core - Vendor Transmission Fault | Care | Care | MS
Core - Vendor Transmission Fault | DDF Cross Connection Cabling Fault | HW | NON MS
Core - Vendor Transmission Fault | Loose Connection | HW | MS
Core - Vendor Transmission Fault | ODU Fault | HW | MS
Core - Non Telecom | Huawei Project Unauthorized Activity | Project Fault | NON MS
Core - Non Telecom | Power company related Fault | Non Telecom | NON MS
Core - Non Telecom | Third?party?Unauthorized?Activity | Third party | NON MS
Core - Non Telecom | ZTE?unauthorized?Activity | PA / UA | NON MS
Core - NSS Hardware Fault | Care | Care | MS
Core - NSS Software Fault | Care | Care | MS
Core - NSS Software Fault | lack of disk space | Care | MS
Core - NSS Software Fault | Software Corrupted | SW | MS
Core - NSS Software Fault | Software Hanged | SW | MS
Core - Power Fault | permanent power outage | Power | NON MS
Core - Power Fault | Power Supply Failure | Power | NON MS
IPRAN - Power Issue | Battery Bank Fault | Battery | MS
Performance-Call Completion Issue | TCP BB Fault | Third party | NON MS
Performance-Call Completion Issue | TIC BB Fault | Third party | NON MS
Performance-Cause Values | Spare Part Unavailability_Consumable Part | Spare Part | MS
Performance-Cause Values | TCP BB Fault | Third party | NON MS
Performance-Cause Values | TIC BB Fault | Third party | NON MS
Performance-SCCP issues | Spare Part Unavailability_Consumable Part | Spare Part | MS
Performance-SCCP issues | TIC BB Fault | Third party | NON MS
Microwave-Congestion | EOS Congestion | Transmission | NON MS
Microwave-Congestion | EOP Congestion | Transmission | NON MS
Microwave-Harware Fault | RMM Faulty | HW | MS
Microwave-Harware Fault | Escalate to Care team | Care | NON MS
Microwave-Harware Fault | Line Board Faulty | HW | MS
Microwave-Harware Fault | Coupler faulty | HW | MS
Performance-TC Occupation | Spare Part Unavailability_Consumable Part | Spare Part | MS
Microwave-Harware Fault | Antenna Faulty | HW | MS
Microwave-Harware Fault | Antenna Feed Horn Faulty | HW | MS
Microwave-Performance | PDH/SDH Line Error | Transmission | MS
Microwave-Performance | Third Party Issue | Third party | NON MS
Microwave-Software Fault | Escalate to Care team | Care | NON MS
Microwave-Visibility Issue | Visibility Lost Due to Congestion | Transmission | MS
Microwave-Visibility Issue | Convertor faulty | HW | MS
Microwave-Visibility Issue | NMS LAN Cable Problem | HW | MS
Microwave-Harware Fault | Patch Cord Loose Connection | HW | MS
Microwave-Harware Fault | Patch Cord Faulty | HW | MS
Microwave-Harware Fault | Power Cable Fault | Power | MS
Microwave-Visibility Issue | NOA | NOA | NON MS
Microwave-Performance | Antenna Misalignment | Transmission | MS
Microwave-Performance | XPIC Mislaignment | Transmission | MS
Microwave-Performance | RSL Degradation Due to Enviromental factor | Transmission | MS
Microwave-Performance | Tower Shaking | Transmission | MS
Microwave-Performance | Antenna Mounting and Installation Issue | Transmission | MS
Microwave-Performance | LOS Block | Transmission | MS
MTN Issue | Belgacom fault | HW | NON MS
MTN Issue | Board Faulty | HW | NON MS
Microwave-PTP Synchronization Fault | SFP and Patch cord Issue | Transmission | MS
Microwave-PTP Synchronization Fault | Modem Board Hang | Transmission | MS
Microwave-PTP Synchronization Fault | Controller Board Hang | Transmission | MS
Microwave-PTP Synchronization Fault | PTP configuration Issue | Transmission | MS
Microwave-PTP Synchronization Fault | SW hang - Reconfiguration | Transmission | MS
Microwave-PTP Synchronization Fault | Eth Port Issue | Transmission | MS
Microwave-PTP Synchronization Fault | XPIC problem | Transmission | MS
Microwave-PTP Synchronization Fault | Module SW package problem | Transmission | MS
Microwave-PTP Synchronization Fault | Microwave WAN degradation | Transmission | MS
Microwave-PTP Synchronization Fault | Controller Board SW package issue | Transmission | MS
Microwave-PTP Synchronization Fault | Router reconfiguration | Transmission | MS
Microwave-PTP Synchronization Fault | Hardware Fault | Transmission | MS
Microwave-PTP Synchronization Fault | Board software fault | Transmission | MS
Microwave-PTP Synchronization Fault | Microwave Link Issue | Transmission | MS
Microwave-Software Fault | Controller Board Hanged | SW | MS
Microwave-Software Fault | Modem Board Hanged | SW | MS
Microwave-Software Fault | Line Board Hanged | SW | MS
Microwave-Software Fault | Layer 2 loop | IP | MS
Microwave-Software Fault | Configuration Problem | SW | MS
Microwave-Software Fault | Frequency Interference | SW | MS
Microwave-Software Fault | Controller Board SW Package Problem | HW | MS
Microwave-Software Fault | PIU Hang | SW | MS
Microwave-Software Fault | SBL Upgrade | Transmission | MS
Microwave-Software Fault | SBL Downgrade | SW | MS
Microwave-Software Fault | RAU Upgrade | SW | MS
Microwave-Software Fault | RAU Downgrade | SW | MS
MTN Issue | ISC-international link- | IP | NON MS
MTN Issue | IS Fault | IP | NON MS
MTN Issue | IS Planed Activity | PA / UA | NON MS
MTN Issue | MCI Access | MCI Issue | NON MS
MTN Issue | MTN Firewall | PA / UA | NON MS
MTN Issue | MTN LAN Switch Fault | PA / UA | NON MS
MTN Issue | MTN Planned Activity | PA / UA | NON MS
MTN Issue | MTN Planning issue | PA / UA | NON MS
MTN Issue | Raptor Modem Fault | HW | NON MS
Non telecom | POWER SUPPLY FAULTY | Power | NON MS
OSS - Citrix | Data Base Issue | SW | MS
OSS - Citrix | Process Fault | HW | MS
OSS - Citrix | Software fault | SW | MS
OSS - Citrix | Hardware fault | SW | MS
OSS - Citrix | Planned Activity | SW | MS
OSS - ENM | Data Base Issue | SW | MS
OSS - ENM | Process Fault | SW | MS
OSS - ENM | Software fault | SW | MS
OSS - ENM | Hardware fault | SW | MS
OSS - ENM | Planned Activity | SW | MS
OSS - MAE | Data Base Issue | SW | MS
OSS - MAE | Process Fault | SW | MS
OSS - MAE | Software fault | SW | MS
OSS - MAE | Hardware fault | SW | MS
Other | Other Issue | Other | MS
OSS - MAE | Planned Activity | SW | MS
OSS - Netact | Data Base Issue | SW | MS
OSS - Netact | Process Fault | HW | MS
OSS - Netact | Software fault | SW | MS
OSS - Netact | Hardware fault | SW | MS
IPRAN -Switching fault | VLAN problem | SW | MS
Performance - CAP issues | Spare Part Unavailability_Consumable Part | Spare Part | MS
Performance - CAP issues | TIC BB Fault | Third party | NON MS
OSS - Netact | Planned Activity | SW | MS
OSS - NetNumen | Data Base Issue | SW | MS
OSS - NetNumen | Process Fault | SW | MS
OSS - NetNumen | Hardware fault | SW | MS
OSS - NetNumen | Planned Activity | SW | MS
OSS - NetNumen | Software fault | SW | MS
Performance - SMS issue | TIC BB Fault | Third party | NON MS
Performance - VLR Subscribers | TIC BB Fault | Third party | NON MS
Performance- Call Drop | TCP BB Fault | Third party | NON MS
Performance- Call Drop | TIC BB Fault | Third party | NON MS
Performance -Connection Ratio | TIC BB Fault | Third party | NON MS
Microwave-Congestion | MW Link Congestion | Transmission | MS
Microwave-Congestion | Eth Port Congestion | Transmission | MS
Microwave-Congestion | TCI VPLS Congestion | SW | NON MS
Microwave-Harware Fault | IF Unit Fault | HW | MS
Microwave-Harware Fault | Controler Board Faulty | HW | MS
Microwave-Harware Fault | RF Unit Faulty | HW | MS
Microwave-Harware Fault | Wave Guide Faulty | HW | MS
Microwave-Harware Fault | SFP Fault | HW | MS
Microwave-Harware Fault | IF Connector Faulty | HW | MS
Microwave-Harware Fault | IF Cable Faulty | HW | MS
Microwave-Harware Fault | Back Plane Faulty | PA / UA | MS
Microwave-Harware Fault | XPIC Cable Faulty | Transmission | MS
Microwave-Harware Fault | Fan faulty | HW | MS
Performance- Context Call Loss | TIC BB Fault | Third party | NON MS
Performance- CPU | Spare Part Unavailability_Consumable Part | Spare Part | MS
Performance -RTP Packet Loss | Spare Part Unavailability_Consumable Part | Spare Part | MS
Performance -RTP Packet Loss | TIC BB Fault | Third party | NON MS
Performance -Signaling Performance | Spare Part Unavailability_Consumable Part | Spare Part | MS
Performance -Signaling Performance | TIC BB Fault | Third party | NON MS
Performance -Trunk issues | Spare Part Unavailability_Consumable Part | Spare Part | MS
Performance -Trunk issues | TCP BB Fault | Third party | NON MS
Performance -Trunk issues | TIC BB Fault | Third party | NON MS
Microwave-Visibility Issue | Communication Parameters Configuration Problem | SW | MS
Performance -MSC CSSR | TIC BB Fault | Third party | NON MS
Performance -Mute Call issue | Spare Part Unavailability_Consumable Part | Spare Part | MS
MTN Issue | Air | MTN | NON MS
MTN Issue | Edge Router | MTN | NON MS
MTN Issue | FACTS Support Issue | MTN | NON MS
MTN Issue | International Server Fault-SRS | MTN | NON MS
MTN Issue | Raptor SIM Problem | MTN | NON MS
MTN Issue | Talia Access | MTN | NON MS
Non telecom | SA Issue | Non Telecom | NON MS
Non telecom | Access for DG Deployment | Non Telecom | NON MS
TX - Non Telecom | Vandalism | Non Telecom | NON MS
TX - Non Telecom | Bad Weather | Non Telecom | NON MS
TX - Non Telecom | Lease Non Payment | Non Telecom | NON MS
TX - Non Telecom | Legal Issue | Non Telecom | NON MS
TX - Non Telecom | Natural Problems | Non Telecom | NON MS
TX - Non Telecom | Power Company Related | Non Telecom | NON MS
TX - Non Telecom | Access issue | Non Telecom | NON MS
TX - Non Telecom | access for DG deployment | Non Telecom | NON MS
TX - Power Issue | AC PDB Fault | Power | MS
TX - Power Issue | DC PDB Fault | Power | MS
TX - Power Issue | Genset Failure | Transmission | MS
TX - Power Issue | Permanent Power outage | Power | NON MS
TX - Power Issue | Rectifier System Fault | HW | MS
TX - Power Issue | DC Power Fuse Capacity problem | Power | MS
TX - Power Issue | AC Power Fuse Capacity problem | Power | MS
TX - Third Party Transmission Fault | Metro Planned activity | PA / UA | NON MS
TX - Third Party Transmission Fault | Metro Fault | Third party | NON MS
TX - Third Party Transmission Fault | Railway Company activity | Third party | NON MS
TX - Third Party Transmission Fault | Railway Company fault | Third party | NON MS
TX - Third Party Transmission Fault | TCP Backbone Fault | Third party | NON MS
TX - Third Party Transmission Fault | TCP Planned Activity | Third party | NON MS
TX - Third Party Transmission Fault | TIC Backbone Fault | Third party | NON MS
TX - Third Party Transmission Fault | TIC Planned Activity | Third party | NON MS
TX - Third Party Transmission Fault | Security Services Fault | Third party | NON MS
TX - Third Party Transmission Fault | TIC Software/Module Fault | Third party | NON MS
TX - Third Party Transmission Fault | TCP Power/Battery system fault | Third party | NON MS
TX - Third Party Transmission Fault | TCP BB Fault due to TIC fiber cut | Third party | NON MS
TX - Third Party Transmission Fault | TCP Software/Module Fault | Third party | NON MS
TX - Third Party Transmission Fault | ITS Customer Service Fault | Power | NON MS
TX - Third Party Transmission Fault | S&D Customer Service Fault/ Planed Activity | Third party | NON MS
TX - Third Party Transmission Fault | EB Customer Service Fault/ Planed Activity | Power | NON MS
TX Access_IP - IP routing Issues | IP summarization and distribution issue | HW | MS
TX Access_IP - IP routing Issues | Route Advertise issue | HW | MS
TX - Third Party Transmission Fault | fava fiber issue | Power | NON MS
TX - Third Party Transmission Fault | fava fiber cut | Power | NON MS
TX - Third Party Transmission Fault | Iranian net fault | Power | NON MS
TX - Transmission Hardware Fault | Backplane Fault | PA / UA | MS
TX - Transmission Hardware Fault | Board Fault | HW | MS
TX - Transmission Hardware Fault | Care | Care | MS
TX - Transmission Hardware Fault | IF Cabling Fault | HW | NON MS
TX - Transmission Hardware Fault | Laser Power Abnormal | HW | MS
TX - Transmission Hardware Fault | patchcord problem | HW | MS
TX - Transmission Hardware Fault | Peer device issue | HW | MS
TX - Transmission Hardware Fault | congestion issue | Care | MS
TX Access_IP - Congestion issue | Interconnection Toward TCI congestion | HW | MS
TX Access_IP - Congestion issue | TCI link Congestion | HW | MS
TX Access_IP - Congestion issue | LAG load balancing issue | HW | MS
TX Access_IP - Congestion issue | L2 Loop | HW | MS
TX Access_IP - Congestion issue | L3 Loop | HW | MS
TX Access_IP - Escalated to care team | Escalated to care team | HW | MS
TX Access_IP - Hardware issue | FAN Fault | HW | MS
TX Access_IP - Hardware issue | SFP Fault | HW | MS
TX Access_IP - Hardware issue | ODF fault | HW | MS
TX Access_IP - Hardware issue | Cable/Fiber problem | HW | MS
TX Access_IP - Hardware issue | Power Unit Fault | HW | MS
TX Access_IP - Hardware issue | Patch cord loose Connection | HW | MS
TX Access_IP - Hardware issue | Backplane Fault | HW | MS
TX Access_IP - Hardware issue | Power Cable Fault | HW | MS
TX Access_IP - IP routing Issues | layer 3 loop | HW | MS
TX Access_IP - IP routing Issues | MP-BGP routing problem | HW | MS
TX Access_IP - IP routing Issues | OSPF issue | HW | MS
TX Access_IP - IP routing Issues | BGP issue | HW | MS
TX Access_IP - IP routing Issues | MPLS-LDP issue | HW | MS
TX Access_IP - IP routing Issues | Static issue | HW | MS
TX Access_IP - IP routing Issues | IP addressing issue | HW | MS
Security | Unknown | Unkown | NON MS
TDD - End User | Relocation | PA / UA | NON MS
TDD - ER | ER | ER | ER
TDD - Hardware Fault | Antenna Fault | HW | MS
TDD - Hardware Fault | Feeder Conector Fault | HW | MS
TDD - Hardware Fault | RET Fault | HW | MS
TDD - Hardware Fault | Board Fault | HW | MS
TDD - Hardware Fault | Internal GPS interference | Sync Issue | MS
TDD - LL Issue | Legal Issue | Non Telecom | NON MS
TDD - LL Issue | Lease Non Payment | Non Telecom | NON MS
TX - Fiber Issue | Fiber Loss -Unauthorized Activity | PA / UA | NON MS
TX - Fiber Issue | Fiber Loss-Site Entry | PA / UA | NON MS
TDD - LL Issue | Site Damage issue for compensation | Non Telecom | NON MS
TDD - LL Issue | Request to cancel lease contract | Non Telecom | NON MS
TDD - LL Issue | Lease contract- expired | Non Telecom | NON MS
TDD - Power Issue | Power Shelf Fault | Power | MS
TDD - Power Issue | Smart Pack Fault | Sync Issue | MS
TDD - Power Issue | Temporary Power Outage | Power | NON MS
TDD - Power Issue | Power Company Related Fault | Power | NON MS
TDD - Power Issue | Permanent Power Outage | Power | MS
TDD - Power Issue | Power Company Vandalized | Power | NON MS
TDD - Power Issue | No Battery Backup On Site | Battery | MS
TDD - Power Issue | Not Healthy Battery Backup On Site | Battery | MS
TDD - Power Issue | DC Power Fuse Capacity problem | Battery | MS
TDD - Power Issue | AC Power Fuse Capacity problem | Power | MS
TDD - Software Fault | IP Conflict problem | IP | MS
TDD - Software Fault | Clock Configuration Problem | SW | MS
TDD - Software Fault | Configuration Problem | SW | MS
TDD - Software Fault | Software Hanged | SW | MS
TDD - Software Fault | GPS Internal Source Interference | Sync Issue | MS
TDD - Software Fault | GPS External Source Interference | Sync Issue | MS
TDD - Software Fault | Difference between BTS master clock | Sync Issue | MS
TDD - Software Fault | RF Source Interference | Sync Issue | MS
TDD - Software Fault | GPS Source Interference | SW | MS
TDD - Spare Part | Spare Part requirment H specific | SW | MS
TDD - Spare Part | Spare Part requirment Non H specific | SW | MS
TDD - Spare Part | Spare Part Unavailability Consumable | Spare Part | MS
TDD - Spare Part | Spare Part Unavailability H specific | Spare Part | MS
TDD - Spare Part | Spare Part Unavailability Non H specific | Spare Part Non H | MS
TDD - Third Party Transmission Fault | TCP Planned Activity | Third party | NON MS
TDD - Third Party Transmission Fault | TCP BB Fault | Third party | NON MS
TDD - Third Party Transmission Fault | TIC BB Fault | Third party | NON MS
TDD - Third Party Transmission Fault | TIC Planned Activity | Third party | NON MS
TDD - Under Investigation | Unclear | Third party | NON MS
TDD - Unknown | Unknown | Unkown | NON MS
TDD - Vendor Transmission Fault | Link configuration problem | SW | MS
TDD - Vendor Transmission Fault | Ethernet Cable Fault | Transmission | NON MS
TDD - Vendor Transmission Fault | MW Link Congestion | Transmission | MS
TDD - Vendor Transmission Fault | Fiber Link congestion | Transmission | MS
TDD - Vendor Transmission Fault | Ethernet Configuration Problem | SW | MS
TDD - Vendor Transmission Fault | MW Link Configuration problem | Transmission | MS
TDD - Vendor Transmission Fault | PmP Link Configuration Fault | Transmission | MS
TDD - Vendor Transmission Fault | MW interference issue | SW | MS
TDD - Non Telecom | Access Issues Contract Expired | Non Telecom | NON MS
TDD - Non Telecom | Access Issues - Bad Weather | Non Telecom | NON MS
TDD - Non Telecom | Access issues - Commercial Buildings | Non Telecom | NON MS
TDD - Non Telecom | Access issues - POI | Non Telecom | NON MS
TDD - Non Telecom | Conditionally COCed without putting OnAir | Non Telecom | NON MS
TDD - Non Telecom | Guard Issue | Non Telecom | NON MS
TDD - Non Telecom | Illegal Power Connection | Non Telecom | NON MS
TDD - Non Telecom | POI resourceUnavailable | Non Telecom | NON MS
TDD - Non Telecom | Temporary Power Issue LL Problem | Non Telecom | NON MS
TDD - Non Telecom | Vandalism due to robbery | Non Telecom | NON MS
TDD - Non Telecom | Vandalism due to damge | Non Telecom | NON MS
TDD - Non Telecom | Under Finance process | Non Telecom | NON MS
TDD - Non Telecom | Relocation | PA / UA | NON MS
TDD - Non Telecom | Force Majeure | Force Majeure | NON MS
TDD - Non Telecom | Municipality | Non Telecom | NON MS
TDD - Non Telecom | Temporary Power Bill Non Payment | Non Telecom | NON MS
TDD - Non Telecom | Permanent Power Bill Non Payment | Non Telecom | NON MS
TDD - Power Issue | Permanent power issue non-standard Materials | Power | MS
TDD - Power Issue | Temporary Power Issue non-standard materials | Power | NON MS
TDD - Power Issue | Battery Without Connection | Battery | MS
TDD - Power Issue | AC MDB Tripped due to Power Fluctuation | Power | MS
TDD - Power Issue | AC DC power System Fault | Power | MS
TDD - Power Issue | Battery Bank Fault | Battery | MS
TDD - Power Issue | Battery Fuse BrokenAlarm | Battery | MS
TDD - Power Issue | Rectifier System Fault | HW | MS
TDD - Power Issue | Faulty Electrical Wiring onAC MDB | Power | MS
TDD - Power Issue | Faulty Electrical Wiring Or Breakers On PDB | Power | MS
TDD - Power Issue | Faulty Or DamagedAC MDB Box | Power | MS
TDD - Power Issue | Faulty Or DamagedAC PDB Box | Power | MS
TDD - Power Issue | permanent Genset failure | Battery | MS
TDD - Power Issue | UnbalancedAC Power | Power | MS
TDD - Power Issue | Temporary Genset failure | Power | MS
TDD - Power Issue | UnsecureAC MDB | Power | MS
TDD - Power Issue | UnstableAC Power Supply | Power | MS
Performance-TCAP issues | Spare Part Unavailability_Consumable Part | Spare Part | MS
Performance-TCAP issues | TIC BB Fault | Third party | NON MS
TDD - Care | Escalated to Huawei Care | Care | NON MS
TDD - Care | Escalated to Ericsson Care | Care | NON MS
TDD - Care | Escalated to Nokia Care | Care | NON MS
Planned Activity | Planned Activity | PA / UA | NON MS
POWER ISSUE | GENSET | Power | MS
Power issue | Power cable fault | Power | MS
POWER ISSUE | DC Power Fuse Capacity problem | PA / UA | NON MS
POWER ISSUE | AC Power Fuse Capacity problem | PA / UA | NON MS
PRB | Hardware fault | Power | MS
PRB | Software fault | Power | MS
PRB | TAP | Power | MS
PRB | Configuration | Power | MS
PRB | Link | Power | MS
PRB | MUX | Power | MS
Project Responsibility | NOA Site | Power | MS
Project Responsibility | Power Issue_Not Healthy Battery | Power | MS
Project Responsibility | LL Issue | Power | MS
Project Responsibility | License Issue | Power | MS
Project Responsibility | Rectifier Issue | Power | MS
Project Responsibility | Power Issue_No Battery | Power | MS
Project Responsibility | Link Issue | Power | MS
Project Responsibility | Hardware Issue | Power | MS
Project Responsibility | Software Issue | Power | MS
Project Responsibility | Fiber Loss | Power | MS
Project Responsibility | Fiber Cut | Power | MS
Project Responsibility | Congestion Issue | Power | MS
Project Responsibility | IP Routing Issue | Power | MS
Project Responsibility | IP Service Issue | Power | MS
Project Responsibility | OS Issue | Power | MS
Project Responsibility | Switching Issue | Power | MS
Project Responsibility | Visibility Issue | Power | MS
Project Responsibility | Configuration Issue | Power | MS
Project Responsibility | Physical Issue | Power | MS
RBT | Care | Care | MS
TDD - End User | Preinformed Site Congestion | SW | NON MS
TDD - Hardware Fault | Fiber Optical Fault | Fiber | MS
TDD - Hardware Fault | RFUnit Fault | HW | MS
Third party Transmission fault | VSAT Problem | Third party | NON MS
Ticketing System - SDM Issue | Database Issue | Third party | NON MS
Ticketing System - SDM Issue | Process Fault | Third party | NON MS
Ticketing System - SDM Issue | Software Fault | Third party | NON MS
Ticketing System - SDM Issue | Hardware Fault | Third party | NON MS
TX - ER | ER | ER | ER
TX - ER | TCP/TIC LL cancelation | ER | ER
TX - Fiber Issue | Railway company Plan Activity | PA / UA | NON MS
TX - Fiber Issue | Railway company Fiber cut | Fiber | NON MS
TX - Fiber Issue | site entry fiber cut | PA / UA | NON MS
TX - Fiber Issue | site entry planned activity | PA / UA | NON MS
TX - Fiber Issue | Control traffic Co. planned activity | PA / UA | NON MS
TX - Fiber Issue | Control traffic Co. fiber cut | Fiber | NON MS
TX - Fiber Issue | Fiber cut-Disaster | PA / UA | NON MS
TX - Fiber Issue | Fiber cut-Vandalism | PA / UA | NON MS
TX - Fiber Issue | Fiber cut-Private-Excavation without coordination | PA / UA | NON MS
TX - Fiber Issue | Fiber cut-Power Co-Excavation without coordination | PA / UA | NON MS
TX - Fiber Issue | Fiber cut-Gas Co-Excavation without coordination | PA / UA | NON MS
TX - Fiber Issue | Fiber cut-Water Co-Excavation without coordination | PA / UA | NON MS
TX - Fiber Issue | Fiber cut-MP-Excavation without coordination | PA / UA | NON MS
TX - Fiber Issue | Fiber cut- Excavation without coordination | PA / UA | NON MS
TX - Fiber Issue | Fiber cut-Unauthorized Activity | PA / UA | NON MS
TX - Fiber Issue | Fiber cut-Site Entry | PA / UA | NON MS
TX - Fiber Issue | Access issue | ER | ER
TX - Fiber Issue | Fiber Loss-Excavation without coordination | PA / UA | NON MS
TX - Fiber Issue | Fiber Loss-MP - Excavation without coordination | PA / UA | NON MS
TX - Fiber Issue | Fiber Loss -Water Co -Excavation without coordination | PA / UA | NON MS
TX - Fiber Issue | Fiber Loss-Gas Co -Excavation without coordination | PA / UA | NON MS
TX - Fiber Issue | Fiber Loss -Power Co-Excavation without coordination | PA / UA | NON MS
TX - Fiber Issue | Fiber Loss-Private -Excavation without coordination | PA / UA | NON MS
TX - Fiber Issue | Fiber Loss -Vandalism | PA / UA | NON MS
TX - Fiber Issue | Fiber Loss - Disaster | PA / UA | NON MS
TDD - LL Issue | Lease contract- Higher lease request | Non Telecom | NON MS
TX Access_IP - IP routing Issues | Policy routing issue | HW | MS
TX Access_IP - IP routing Issues | Route Reflector issue | HW | MS
TX Access_IP - IP routing Issues | Peer side issue | HW | MS
TX Access_IP - IP routing Issues | FIB issue | HW | MS
TX Access_IP - IP routing Issues | Huge LDP bindings | HW | MS
TX Access_IP - IP services issues | FTP/SFTP issue | HW | MS
TX Access_IP - IP services issues | NTP issue | HW | MS
TX Access_IP - IP services issues | SNMP issue | HW | MS
TX Access_IP - IP services issues | QOS issue | HW | MS
TX Access_IP - IP services issues | IP-SLA issue | HW | MS
TX Access_IP - IP services issues | DHCP issue | HW | MS
TX Access_IP - Link problem | High/Low power issue on fiber | HW | MS
TX Access_IP - Link problem | High CRC | HW | MS
TX Access_IP - Non telecom | Force Majeure | HW | MS
TX Access_IP - Non telecom | Vandalism | HW | MS
TX Access_IP - Non telecom | Relocation | HW | MS
TX Access_IP - Software/OS issue | Software Problem | HW | MS
TX Access_IP - Software/OS issue | Version/release upgrade problem | HW | MS
TX Access_IP - Software/OS issue | Configuration problem | HW | MS
TX Access_IP - Software/OS issue | Router IPOS hanged/Failure | HW | MS
TX Access_IP - Software/OS issue | License provision problem | HW | MS
TX Access_IP - Software/OS issue | IP-VLAN configuration problem | HW | MS
TX Access_IP - Software/OS issue | Sync/Clock issue | HW | MS
TX Access_IP - Software/OS issue | Routing protocol fault | HW | MS
TX Access_IP - Software/OS issue | High CPU/Memory usage issue | HW | MS
TX Access_IP - Switching issues | Broadcast Storm | HW | MS
TX Access_IP - Switching issues | Speed/duplex mismatch | HW | MS
TX Access_IP - Switching issues | VRRP issue | HW | MS
TX Access_IP - Switching issues | L2 Loop | HW | MS
TX Access_IP - Under investigation | Unclear | HW | MS
TX Access_IP - Visibility issue | Router Visibility lost due to Congestion | HW | MS
TX Access_IP - Visibility issue | Communication/Configuration Problem | HW | MS
TX Access_IP - Visibility issue | ACS User block | HW | MS
TX Access_IP -4 Link problem | VPLS Packet loss | HW | MS
TX Access_IP 7- Software/OS issue | IP conflict problem | HW | MS
TDD - Non Telecom | Access Issues Only Day TimeAccess | Non Telecom | NON MS
TDD - Non Telecom | Access Issues No Contract | Non Telecom | NON MS
TDD - Non Telecom | Access Issues LLUnhappy | Non Telecom | NON MS
VSAT_Problem | Unclear | VSAT | MS
VSAT_Problem | VSAT_Vendor_IPBB_Fault | VSAT | MS
VSAT_Problem | High_Latency | VSAT | MS
VSAT_Software Fault | Configuration Fault | VSAT | MS
VSAT_Software Fault | Software Hanged | VSAT | MS
Without MS Attendance | Unable to Identify | Third party | NON MS
BSS - Third Party Transmission Fault | Fava fiber cut | SW | NON MS
BSS - Third Party Transmission Fault | TIC Software/Module Fault | Third party | NON MS
BSS - Third Party Transmission Fault | TIC Fiber issue | Third party | NON MS
BSS - Third Party Transmission Fault | TCP Software/Module Fault | Third party | NON MS
BSS - Third Party Transmission Fault | Shatel Fiber issue | Third party | NON MS
TX - ER | Not live link | ER | ER
TX - ER | Other | ER | ER
TX - Fiber Issue | Fiber Cut | PA / UA | NON MS
TX - Fiber Issue | Plan Activity | PA / UA | NON MS
TX - Fiber Issue | FDB Issue | PA / UA | NON MS
TX - Non Telecom | Envirmental issue | Non Telecom | NON MS
TX - Non Telecom | Damage due to Vandalism | Non Telecom | NON MS
TX - Power Issue | Peer side device issue | Transmission | MS
TX - Power Issue | No healthy battery backup | Transmission | MS
TX - Power Issue | Local Power outage | Transmission | MS
TX - Third Party Transmission Fault | Fava Plan Activity | Power | NON MS
TX - Third Party Transmission Fault | Iranian Net Plan Activity | Power | NON MS
TX - Third Party Transmission Fault | Metro Power issue | PA / UA | NON MS
TDD - Hardware Fault | GPS Fault | HW | MS
TDD - Hardware Fault | Fan Fault | HW | MS
TDD - Hardware Fault | Sensor Fault | HW | MS
VAS-SMSC | Planned Activity | PA / UA | NON MS
TDD - Non Telecom | Access issues-DangerousArea Inhibiting SiteAccess | Non Telecom | NON MS
TDD - Non Telecom | Access issues - LimitedAccess | Non Telecom | NON MS
TDD - Non Telecom | Access Issues - LLUnavailable | Non Telecom | NON MS
TDD - Non Telecom | LL Issue Unhappy Landlord | Non Telecom | NON MS
TX - Transmission Hardware Fault | Adaptor fault | Third party | NON MS
TDD - Non Telecom | Access prevention / Relocation | Non Telecom | NON MS
TDD - Non Telecom | Procurement process | Non Telecom | NON MS
TX - Transmission Hardware Fault | Cooling system fault | HW | MS
TX - Third Party Transmission Fault | VSAT issue | Third party | NON MS
TX - Third Party Transmission Fault | TIC Fiber issue | Third party | NON MS
TX - Third Party Transmission Fault | TIC Area power outage | Third party | NON MS
TX - Third Party Transmission Fault | TCP Fiber Cut | Third party | NON MS
TX - Third Party Transmission Fault | POI Access issue | PA / UA | NON MS
TX - Third Party Transmission Fault | TCP Area power outage | Third party | NON MS
TX - Third Party Transmission Fault | Suspected to TCP/TIC issue | Third party | NON MS
TX - Third Party Transmission Fault | Shatel Fiber issue | Third party | NON MS
TX - Third Party Transmission Fault | Security Services activity | Third party | NON MS
TX - Third Party Transmission Fault | Metro Fiber issue | Third party | NON MS
BSS - Third Party Transmission Fault | Metro Fiber issue | SW | NON MS
BSS - ER | ER | ER | ER
BSS - Escalated To Care | Escalated To Care Team | Care | NON MS
BSS - Third Party Transmission Fault | TCP BB Fault due to TIC fiber cut | Third party | NON MS
BSS - Third Party Transmission Fault | TCP Fiber Cut | Third party | NON MS
BSS - Third Party Transmission Fault | Iranian Net Plan Activity | SW | NON MS
Project Responsibility | Suspected to Power Outage | Power | MS
BSS - Congestion | ERAB Congestion | SW | NON MS
BSS - Congestion | DSL Link Congestion | Transmission | MS
TX - Transmission Hardware Fault | IF Connector Problem | HW | MS
TX - Transmission Hardware Fault | Software reset | Transmission | MS
TX - Transmission Hardware Fault | Spare Part Unavailability_Consumable Part | Transmission | MS
TX - Transmission Hardware Fault | Spare Part Unavailability_H Specific Part | Transmission | MS
TX - Transmission Hardware Fault | Spare Part Unavailability_Non H Specific Part | Transmission | MS
TX - Transmission Hardware Fault | Spare Part Unavailability_Vendor Specific Part | Transmission | MS
VAS-SMSC | Software Mismatch | SW | MS
VIP-Other | VIP-Other | Other | MS
BSS - Congestion | SDCCH congestion | SW | MS
BSS - Congestion | TCH congestion | SW | MS
BSS - Cooling System Fault | Air Conditioner Fault | HW | MS
BSS - Cooling System Fault | Air Conditioner Power Source Problem | HW | MS
BSS - Cooling System Fault | Cooling system fault | HW | MS
BSS - Cooling System Fault | Fan Faulty | HW | MS
TX - Transmission Hardware Fault | SFP fault | Transmission | MS
TX - Transmission Hardware Fault | LAN cable problem | HW | MS
TX - Under Investigation | Unclear | Unkown | MS
Unauthorized Activity | Act Out of CR | PA / UA | NON MS
VAS-MMSC | Planned Activity | PA / UA | NON MS
Unauthorized Activity | NO CR | PA / UA | NON MS
VAS-MMSC | Software Mismatch | SW | MS
VAS-SMSC | Care | Care | MS
VAS-SMSC | CCN issues | Care | MS
Project Responsibility | Huawei Clean up | Power | MS
BSS - Power Issue | Suspected to Power Outage | Power | NON MS
BSS - Third Party Transmission Fault | Iranian net fault | SW | NON MS
Unable To Be Identified | Permanent Power outage | Power | NON MS
Unable To Be Identified | Power company related fault | Power | NON MS
Unable To Be Identified | Short Outage Recovered Before FLM Arrive | Power | MS
Unable To Be Identified | Vandalism | Vandalism | NON MS
Unauthorized Activity | Duration Out of CR | PA / UA | NON MS
VAS - Third Party Fault | MCI Related Fault | MCI Issue | NON MS
VAS - Under Investigation | Unclear | MCI Issue | NON MS
VAS-IPCC | Care | Care | MS
VAS-MMSC | Care | Care | MS
VAS-MMSC | CCN interface problem | Care | MS
VAS-MMSC | CDR problems | Care | MS
Core - NSS Software Fault | License PO Issue | Care | MS
Core - NSS Software Fault | Huawei License Solution Issue | Care | MS
Core - NSS Software Fault | Software Fault | SW | MS
Core - Gi Related | Gi Problem | Spare Part | MS
BSS - Third Party Transmission Fault | Metro Planned activity | SW | NON MS
BSS - Third Party Transmission Fault | Metro Fault | SW | NON MS
Core - Call Center Complaint | Coverage Problem | Care | MS
BSS - Third Party Transmission Fault | Metro Power issue | SW | NON MS
BSS - Third Party Transmission Fault | TCP Power/Battery system fault | Third party | NON MS
BSS - Third Party Transmission Fault | TCP Area power outage | Third party | NON MS
BSS - Third Party Transmission Fault | Suspected to TCP/TIC issue | Third party | NON MS
BSS - Third Party Transmission Fault | TIC Area power outage | Third party | NON MS
BSS - Third Party Transmission Fault | Fava Plan Activity | SW | NON MS
BSS - Congestion | RAB Congestion | SW | MS
BSS - Congestion | RRC Congestion | SW | MS
BSS - Congestion | HDLC link congestion | Transmission | MS
BSS - Congestion | LAPD link congestion | Transmission | MS
BSS - Hardware Fault | PSU hanged | HW | MS
Core - Non Telecom | Vista MS Unauthorized Activity - FM UA | Third party | NON MS
Core - Time Synchronization | Transmission Fault | Third party | NON MS
Core - Trunk Issues | Core Software Issue | Third party | NON MS
Core - Trunk Issues | Junk Data Issue | Third party | NON MS
Core - Trunk Issues | Peer Side Issue | Third party | NON MS
Core - Trunk Issues | Subscriber Behavior | Third party | NON MS
Core - UPCF | UPCF Issue | Third party | NON MS
Core - Utilization | Subscriber Behavior | Third party | NON MS
Core - Utilization | Lack of Hardware Capacity | Third party | NON MS
Core - VLR | None Core Related Activity | HW | MS
Core - VLR | Subscriber Behavior | HW | MS
Core - VLR | Subscriber Movement | HW | MS
Core - APN Issue | Add - Remove - MOD APN | SW | MS
TX - Fiber Issue | Vista Fiber Plan Activity | PA / UA | NON MS
TX - Fiber Issue | Vista Fiber Cut | PA / UA | NON MS
Core - Non Telecom | Vista MS Unauthorized Activity - NOC UA | Third party | NON MS
Core â€“ Planning | Lack of Resource | HW | MS
Core â€“ Planning | License Issue | HW | MS
Core - Registered IMPU | IP Related Issue | Power | NON MS
Core - Registered IMPU | None Core Issue | Power | NON MS
Core - Registered IMPU | Priority Change | Power | NON MS
Core - Registered IMPU | Subscriber Distribution | Power | NON MS
Core - Registered IMPU | Wireless Related Issue | Power | NON MS
Core - Signaling Failure | DRA Failure | Care | MS
Core - Signaling Failure | Ga Failure | Care | MS
Core - Signaling Failure | Gi Problem | Care | MS
Core - Signaling Failure | Gn Failure | Care | MS
Core - Signaling Failure | Gx Failure | Care | MS
Core - Signaling Failure | Gy Failure | Care | MS
Core - Signaling Failure | Diameter Signaling Issue | Care | MS
Core - Time Synchronization | NTP Problem | Third party | NON MS
Access Issue | Commercial Issue | Non Telecom | NON MS